|  | TECHNICAL SITE SURVEY REPORT (SWAP) |  |  |  |
| --- | --- | --- | --- | --- |
|  | Site Number: | XXX -XXX | Site Name: | TEMPLATE |

1        BASIC SITE INFORMATION

| - Site (Candidate) Details |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ## Site type RT - GF - EXT: |  | Site Latitude: |  | º ’ . ” | Site Longitude: |  | º ’ . ” |
| Site address: |  |  |  |  |  |  |  |

| ### Site Provider Detail |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name: |  | Position: |  | Telephone No.: |  |
| Address: |  |  |  |  |  |
| Mobile No.: |  | Fax: |  | E-Mail: |  |
| Comments: |  |  |  |  |  |

| ### On-Site Contact Details |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name: |  | Position: |  | Telephone No.: |  |
| Mobile No.: |  | Fax: |  | E-Mail: |  |
| Comments: |  |  |  |  |  |

2)	(SWAP) - TECHNICAL SITE SURVEY DETAILS

| 2.1) Technical Site Survey Status |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TSS Type | BTS Indoor | BTS Outdoor |  | BSC |  | TC | OTHER |  |
| Date of TSS: |  |  | TSS Report prepared by: |  |  |  |  |  |
| Name | Discipline |  | Company |  | Attendance Signature |  | Accept | Reject |
|  | RF Engineer |  |  |  |  |  |  |  |
|  | TX Engineer |  |  |  |  |  |  |  |
|  | Customer representative |  |  |  |  |  |  |  |
|  | Site Acquisition |  |  |  |  |  |  |  |
|  | Civil Work Contractor |  |  |  |  |  |  |  |
|  | Engineering & Design |  |  |  |  |  |  |  |
|  | Equipment Vendor |  |  |  |  |  |  |  |
|  | Provider/ Owner |  |  |  |  |  |  |  |
|  | Other……………….. |  |  |  |  |  |  |  |
| If rejected, state reasons: |  |  |  |  |  |  |  |  |
| Signature of attendance with an accepted tick box indicates that document was completed according to what was established during site survey |  |  |  |  |  |  |  |  |

3)	RADIO FREQUENCY ENGINEERING & PLANNING

| Site Type: Greenfield Rooftop Indoor Microcell Others: ……………………................. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Band | 900 MHz |  |  | Other equipment in antenna system |  |  |  |
| Sector | 1 | 2 | 3 | TMA | Combiner |  | MCM |
| Antenna Type Number |  |  |  | DD-TMA | Duplexer |  | DIPL |
| Number of Antennas |  |  |  | 2-way splitter |  | 3-way splitter |  |
| Antenna Orientation | º | º | º | Other information: |  |  |  |
| Antenna Mec. Tilt (deg.) | º | º | º |  |  |  |  |
| Antenna Height (m) (Bottom of ant. to ground) | Mt | Mt | Mt |  |  |  |  |
| Feeder type: | / | / | / |  |  |  |  |
| Feeder Length: | Mt | Mt | Mt |  |  |  |  |
| BTS / BSC / TC Type |  |  |  |  |  |  |  |
| BTS Configuration |  |  |  |  |  |  |  |

| FEEDER CABLES – GUIDELINES |  |  | ANTENNA - GUIDELINES |  |
| --- | --- | --- | --- | --- |
| ½ inch | 1m to 23mt |  | A |  |
| 7/8 inch | 23m to 65m |  | B |  |
| 1 5/8 inch | 65m to 115m |  | C |  |

4)	TRANSMISSION DATA

| 4.1) Microwave – TX responsible |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | MICROWAVE |  |  |  |  |  |
|  |  | MW2 | MW3 | MW4 | MW5 | MW6 |
| Microwave height : |  |  |  |  |  |  |
| Azimuth / orientation: |  |  |  |  |  |  |
| Microwave diameter (size): |  |  |  |  |  |  |

| 4.2) Lease Line – TX responsible |  |  |  |  |
| --- | --- | --- | --- | --- |
| Is permanent Lease line connection required: | Yes | No | If known state location (distance) of Lease line equipment / connection point: |  |
| Comments: |  |  |  |  |

| 4.3) BTS Features / Configuration - RF responsible |  |  |  |  |
| --- | --- | --- | --- | --- |
| BTS Location: | Indoor Shelter | Indoor Room |  | Outdoor |
| BTS Configuration: | Configuration 1 – (1+1+1) TRU’s Configuration 2 – (2+2+2) TRU’s |  | Configuration 3 – (3+3+3) TRU’s Configuration 4 – (4+4+4) TRU’s |  |
| If Outdoor, Number of BTS Cabinets site designed for: | 1 BTS Cabinet 2 BTS Cabinets |  | 3 BTS Cabinets BTS Cabinets to be positioned separate from each other. |  |
| Comments: |  |  |  |  |

- CIVIL WORKS – MATERIALS REQUIRED – GSM MATERIALS

| 5.1) Site Features – Civil Works & Design |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site type: | Greenfield |  |  |  |  |  |  |  | Telecom Provider Infrastructure |  |  |  |  |  |  |  |  |  |  |
|  | Site Share (Greenfield) |  |  |  |  |  |  |  | Power Pylon |  |  |  |  |  |  |  |  |  |  |
|  | Rooftop |  |  |  |  |  |  |  | Indoor solution |  |  |  |  |  |  |  |  |  |  |
|  | Rooftop (Co-location) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Rooftop (Site Share) |  |  |  |  |  |  |  | Other (state)…………………………… |  |  |  |  |  |  |  |  |  |  |
| Installation type / Antenna support: |  |  |  |  |  |  |  |  | Face mounts |  |  |  |  |  |  |  |  |  |  |
|  | Monopole |  |  |  |  |  |  |  | Pole mounts |  |  |  |  |  |  |  |  |  |  |
|  | Panel Tower |  |  |  |  |  |  |  | Stub mast |  |  |  |  |  |  |  |  |  |  |
|  | Existing support infrastructure |  |  |  |  |  |  |  | Central tripod |  |  |  | Ballast |  |  |  |  |  |  |
|  | Chimney |  |  |  |  |  |  |  | Tripods |  |  |  |  |  |  |  |  |  |  |
|  | Other ………………………… |  |  |  |  |  |  |  | Rooftop monopole (braced pole) |  |  |  |  |  |  |  |  |  |  |
| BTS location and type: | Shelter 3Mt x 3Mt |  |  |  |  |  |  |  | Same level roof as antenna & MWave |  |  |  |  |  |  |  |  |  |  |
|  | Shelter 3Mt x 6Mt |  |  |  |  |  |  |  | Lower level rooftop |  |  |  |  |  |  |  |  |  |  |
|  | Shelter 4Mt x 8Mt |  |  |  |  |  |  |  | Other ………………………… |  |  |  |  |  |  |  |  |  |  |
| Show details on sketches attached | Existing BTS room (state available space) |  |  |  |  |  |  |  | TOWER HEIGHT (NEW / EXISTING) |  |  |  |  |  | MT |  |  |  |  |
|  | H: | __ | W: | __ | D: | __ |  |  | Compound size in MT |  |  |  |  |  | OTHER |  |  |  |  |
|  | New BTS room required (state dimensions) |  |  |  |  |  |  |  | 10x10 | 12x12 |  |  |  | 15x15 |  |  |  |  |  |
|  | H: | __ | W: | __ | D: | __ |  |  | * If practical more than one box may be ticked |  |  |  |  |  |  |  |  |  |  |
| BTS floor location: | Basement |  |  |  |  |  |  |  | Intermediary floor (state i.e. 3rd ) |  |  |  |  |  |  | ……... |  |  |  |
|  | Ground level |  |  |  |  |  |  |  | Roof top level |  |  |  |  |  |  |  |  |  |  |
| Air Conditioning | Existing on Site Y N |  |  |  |  |  | Type: SPLIT UNIT WINDOW |  |  |  |  | Qty: ………………….. |  |  |  |  |  |  |  |
|  | NEW suggested Y N |  |  |  |  |  | Type: SPLIT UNIT WINDOW |  |  |  |  | Qty: ………………….. |  |  |  |  |  |  |  |
| Structural integrity, suitability: | No Problem foreseen |  |  |  |  |  |  |  | To Be determined |  |  |  |  |  |  |  |  |  |  |
|  | Roof bearing capacity not adequate |  |  |  |  |  |  |  | Poor condition of existing steel / masonry structure / construction |  |  |  |  |  |  |  |  |  |  |
|  | Poor condition of existing timber structure |  |  |  |  |  |  |  | Poor condition of existing roof covering (eg. Asphalt) |  |  |  |  |  |  |  |  |  |  |
|  | Significant reconstruction and support bracing required |  |  |  |  |  |  |  | Fragile structure / surfaces (i.e. Glass roofs - state) |  |  |  |  |  |  |  |  |  |  |
|  | Significant structural work required |  |  |  |  |  |  |  | Potential Greenfield foundation / groundwork’s stability issues |  |  |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| 5.2) Site Access – Civil Works & Engineering |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ease of access ranking: | Regular Car |  |  |  |  | 4x4 |  |  |  |  |  |  |  | By Foot |  |  |  |  |  |
| Vehicular access route : | Hard Standing |  |  |  |  | Gravel |  |  |  |  |  |  |  | To Construct |  |  |  |  |  |
| Delivery of materials to site: | Truck |  |  | 4 WD |  |  |  |  | Helicopter |  |  |  |  |  |  |  | Manual Delivery |  |  |
| Lifting of BTS Equipment | Hand Lifted |  |  |  |  | Hoist |  |  |  |  | Building Elevator |  |  |  |  |  |  |  |  |
|  | Cherry picker |  |  |  |  | Crane |  |  |  |  | Other (state) |  |  |  |  |  |  |  |  |
| Smallest Doors to be access with BTS equipment | Width | cm |  |  | Materials |  |  | Size of BTS room Door |  |  |  | Width |  |  |  | cm |  | Materials |  |
|  | Height | cm |  |  |  |  |  |  |  |  |  | Height |  |  |  | cm |  |  |  |
| Site Security during construction: | Security Guard Present |  |  |  |  |  | Security Guard Not Required |  |  |  |  |  |  |  | Security Guard Required |  |  |  |  |
| Site Access Conditions during Construction: | 24 Hour -- 7 days Holidays included |  |  |  |  |  | Monday to Friday access only |  |  |  |  |  |  |  | Other Conditions _______________ |  |  |  |  |

| 5.3) SUMMARY OF ACTIVITY, MATERIAL SUPPLY & AVAILABLE ON SITE ITEMS |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RENOVATIONS | Yes ,No, Existing | Quantity |  |  |  |  |  |  |  |  |  |  |
| Painting of walls | Y N E | m2 |  | Color required: |  |  |  |  |  |  |  |  |
| Painting of ceiling | Y N E | m2 |  | Color required: |  |  |  |  |  |  |  |  |
| Replacement of door | Y N E | Qty |  | Width: cm |  |  |  | Height: cm |  |  |  | Material: |
| Brick Closing of windows | Y N E | Qty |  | Width: cm |  |  |  | Height: cm |  |  |  | Material: |
| Replacement of windows | Y N E | Qty |  | Width: cm |  |  |  | Height: cm |  |  |  | Material: |
| Floor Renovation / Status | Y N E | m2 |  | Renovate with: |  |  |  |  |  |  |  |  |
| Internal Lighting | Y N E | Qty |  | Type: |  |  |  |  |  |  |  |  |
| Socket outlets | Y N E | Qty |  | Type: |  |  |  |  |  |  |  |  |
| Fire extinguisher | Y N E | Qty |  | Location: |  |  |  |  |  |  |  |  |
| Alarms to be installed | Y N E | Fire | Intruder |  |  | High Temp. |  |  |  |  | Power failure |  |
| Internal cable ladder | Y N E | Mt |  | Width: cm |  |  | Comment: |  |  |  |  |  |
| External Cable ladders | Y N E | Qty |  | Width: cm |  |  | Comment: |  |  |  |  |  |
| Internal Bass bars | Y N E | Qty |  | Type: |  |  |  |  |  |  |  |  |
| External Bass bars | Y N E | Mt |  | Type: |  |  |  |  |  |  |  |  |
| Copper tape 25x3mm | Y N E | Mt |  | Comment: |  |  |  |  |  |  |  |  |
| Grounding cable | Y N E | Qty |  | Dimension: mm2 |  |  |  |  | Comment: |  |  |  |
| Cable entries | Y N E | Qty |  | Type: |  |  |  |  | Comment: |  |  |  |
| Earth rod | Y N E | Qty |  | Dimension: |  |  |  |  |  |  |  |  |
| Air Conditioning | Y N E | Qty |  | Type: |  |  |  |  |  |  |  |  |
| Distribution board | Y N E | Qty |  | Type: |  |  |  |  |  |  |  |  |
| GSM EQUIPMENT | Yes ,No, Existing | Quantity |  |  |  |  |  |  |  |  |  |  |
| BTS | Y N E | Qty |  | Type: |  |  |  |  |  |  |  |  |
| Power Supply | Y N E | Qty |  | Type: |  |  |  |  |  |  |  |  |
| Battery Rack | Y N E | Qty |  | Type: |  |  |  |  |  |  |  |  |
| Rectifier | Y N E | Qty |  | Type: |  |  |  |  |  |  |  |  |
| MW Equipment IDU & ODU | Y N E | Qty |  | Type: |  |  |  |  |  |  |  |  |
| Antennas | Y N E | Qty |  | Type: |  |  |  |  |  |  |  |  |
| Feeder cables - TOTALS | Y N E | ½ inch x Mt |  |  | 7/8 inch x Mt |  |  |  |  | 1 5/8 inch x Mt |  |  |

6)      ELECTRICAL & GROUNDING - POWER & ELECTRO-MECH’L. SURVEY

| 6.1) Earthing & Lightening Protection |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Electrical earth | Connect to existing Y N |  | Installation required (Earth Rod) Y N |  |  |
| Lightening Protection | Connect to existing Y N |  | Installation required (Below list) Y N |  |  |
|  | Earth Rod | Bass bar |  | Copper tape | Earthing cable |
| Comments: |  |  |  |  |  |

| 6.2) Power Supply |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Available Main Power Source to site |  |  | Sub-Station |  |  |  |  | Transmission Line |  |  | Solar Panels |  |  |  |
|  |  |  | Street Light |  |  |  |  | Private Network |  |  |  |  |  |  |
|  |  |  | Generator |  |  |  |  | Power Room / Box |  |  | Others: |  |  |  |
| Power Source distance to Site: |  |  | Overhead lines M |  |  |  |  | Underground line M |  |  | OTHER M |  |  |  |
| Power Source distance from MDB to BTS: |  |  | Within Trunking M |  |  |  |  | Within Conduit M |  |  | OTHER M |  |  |  |
| Voltage configuration |  |  | Single Phase |  |  | Three Phase |  |  |  |  |  |  |  |  |
| Generators |  |  | Generator on site | Y N |  |  |  | If YES, Power (W) | kVa |  | Fuel Tank autonomy |  |  | Liters |
| Energy meter |  |  | New 3Ph meter |  | Sub meter - Supply from Site Provider required |  |  |  |  |  |  |  | Not Applicable |  |
| Automatic Transfer switch |  |  | ATS available on site Y N |  |  |  |  |  |  |  |  |  |  |  |
| Existing MDB |  |  | Within equipment room |  |  |  | Within site compound |  |  |  |  | New required |  |  |
| Available Breakers at Existing MDB |  |  | 125A 3Phase Qty |  |  |  | 32A 3Phase Qty |  |  |  |  | 6A 1Ph 2pol Qty |  |  |
|  | Y N | If Yes | 100A 3Phase Qty |  |  |  | 16A 1Ph 2pol Qty |  |  |  |  |  |  |  |
|  |  |  | 63A 3Phase Qty |  |  |  | 10A 1Ph 2pol Qty |  |  |  |  | __________ Qty |  |  |
| 48 V |  |  | Available on site Y N |  |  |  | Note: |  |  |  |  |  |  |  |
| ACPDB |  |  | Available on site Y N |  |  |  | Available connection within existing ACPDB Y N |  |  |  |  |  |  |  |
|  |  |  | Description: |  |  |  |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

7)	Pictures

| 7.1 Site pictures – REFER TO (11) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| The enclosures and photos from the tick list must be included to the Technical site survey. |  |  |  |  |  |
| Power Source & Energy meter |  | Site View, layout & elevation |  | Antenna support |  |
| Distribution panel |  | BTS room location |  | Works to be done |  |
| Cable entries & Grounding |  | Access to site |  | Generator & fuel tanks |  |

8)  COMPLETE SITE LAYOUT.

|  | MARK THE NORTH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Clearly illustrate North point.

9) BTS ROOM LAYOUT – BTS LOCATION – EXISTING CABLE LADDERS

|  | MARK THE NORTH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Clearly illustrate North point.

10)  ELECTRICAL – GROUNDING – TOWER

|  | MARK THE NORTH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Clearly illustrate North point.

11)	SITE PICTURES

To import pictures. 1st single click on the sample pictures, 2nd go to the insert Pictures icon, 3rd browse & insert picture

Insert comments here

Insert comments here

Insert comments here

Insert comments here

Insert comments here

Insert comments here

Insert comments here

Insert comments here

Insert comments here

Insert comments here

Insert comments here

11)	SITE PICTURES